## Annex-A (Aizawl)
ANNEXURE-A
REPAIRING COST OF DISTRIBUTION TRANSFORMERS FOR AIZAWL
Sl. No | ITEM | Unit | 16kVA Trans. (Rs) | 25kVA Trans. (Rs) | 63kVA Trans. (Rs) | 100kVA Trans. (Rs) | 150kVA Trans. (Rs) | 200kVA Trans. (Rs) | 250kVA Trans. (Rs) | 500kVA Trans. (Rs) | 630kVA Trans. (Rs) | 1000kVA Trans. (Rs)
1 | Preparation of Survey Report and estimate of repair charges | No
2 | Supply of finished new for coils replacement of damage ones (Rate per Kg of the finished of Copper/AL) a) 33/11/6.6kV coils H.V.SE/DPC TPC/SPC/(round/rectangle) i) Copper ii) Aluminium b) 11/6.6/0.433kV coils L.V/DPC/DCC/(round/rectangle) i) Copper ii) Aluminium | Kg Kg Kg Kg
3 | Rewinding with reinsulation of Interlayer Insulation of old coils a) 33/11/6.6kV coils H.V.SE/DPC/TPC/SPC/(round/rectangle) b) 11/6.6/0.433kV coils L.V/DPC/DCC/(round rectangle) | Kg
4 | Supply of assorted bolts & nuts according to requirement (Rate per Kg) a) Brass b) Copper c) M.S d) Aluminium e) Fiber | Kg Kg Kg Kg Kg
5 | Supply of assorted studs according to requirement (Rate per Kg) a) Brass b)Copper c) M.S d) Aluminium e) Fiber | Kg Kg Kg Kg Kg
6 | Charges for Cleaning, Reassembly, Filling of oil Silicagel, etc & Testing of Transformer | No
7 | External painting of Transformer | No
8 | Supply of Breather with Silicagel | No
9 | Supply of Drain Valve Diameter upto 40mm | No
10 | Supply of filter Valve upto 40mm | No
11 | Supply of Ratio switch with handle | No
12 | Supply of Bushing H.V | No
13 | Supply of Bushing L.V | No
14 | Supply of Insulating materials for assembly such as insulating tubes, block, sheet, etc | Kg
15 | Filtration charges of Transformer oil | Ltr
16 | Less for scrap copper (per.Kg) | Kg
17 | Less for scrap Aluminium (per.Kg) | Kg
18 | Supply of Transformer oil | Ltr

## Annex-B (Aizawl)
ANNEXURE-B
REPAIRING COST OF POWER TRANSFORMERS FOR AIZAWL
Sl. No | ITEM | Unit | 1 MVA Trans. (Rs) | 1.6 MVA Trans. (Rs) | 2 MVA Trans. (Rs) | 2.5 MVA Trans. (Rs) | 3 MVA Trans. (Rs) | 6.3 MVA 33/11kV Trans. (Rs)
1 | Preparation of Survey Report and estimate of repair charges | No
2 | Supply of finished new for coils replacement of damage ones (Rate per Kg of the finished of Copper/AL) a) 33/11/6.6kV coils H.V.SE/DPC TPC/SPC/(round/rectangle) i) Copper ii) Aluminium b) 11/6.6/0.433kV coils L.V/DPC/DCC/(round/rectangle) i) Copper ii) Aluminium | Kg Kg Kg Kg
3 | Rewinding with reinsulation of Interlayer Insulation of old coils a) 33/11/6.6kV coils H.V.SE/DPC/TPC/SPC/(round/rectangle) b) 11/6.6/0.433kV coils L.V/DPC/DCC/(round rectangle) | Kg
4 | Supply of assorted bolts & nuts according to requirement (Rate per Kg) a) Brass b) Copper c) M.S d) Aluminium e) Fiber | Kg Kg Kg Kg Kg
5 | Supply of assorted studs according to requirement (Rate per Kg) a) Brass b)Copper c) M.S d) Aluminium e) Fiber | Kg Kg Kg Kg Kg
6 | Charges for Cleaning, Reassembly, Filling of oil Silicagel, etc & Testing of Transformer | No
7 | External painting of Transformer | No
8 | Supply of Breather with Silicagel | No
9 | Supply of Drain Valve Diameter upto 40mm | No
10 | Supply of filter Valve upto 40mm | No
11 | Supply of Ratio switch with handle | No
12 | Supply of Bushing H.V | No
13 | Supply of Bushing L.V | No
14 | Supply of Insulating materials for assembly such as insulating tubes, block, sheet, etc | Kg
15 | Filtration charges of Transformer oil | Ltr
16 | Less for scrap copper (per.Kg) | Kg
17 | Less for scrap Aluminium (per.Kg) | Kg
18 | Supply of Transformer oil | Ltr

## Annex-C (Lunglei)
ANNEXURE-C
REPAIRING COST OF DISTRIBUTION TRANSFORMERS FOR LUNGLEI
Sl. No | ITEM | Unit | 16kVA Trans. (Rs) | 25kVA Trans. (Rs) | 63kVA Trans. (Rs) | 100kVA Trans. (Rs) | 150kVA Trans. (Rs) | 200kVA Trans. (Rs) | 250kVA Trans. (Rs) | 500kVA Trans. (Rs) | 630kVA Trans. (Rs) | 1000kVA Trans. (Rs)
1 | Preparation of Survey Report and estimate of repair charges | No
2 | Supply of finished new for coils replacement of damage ones (Rate per Kg of the finished of Copper/AL) a) 33/11/6.6kV coils H.V.SE/DPC TPC/SPC/(round/rectangle) i) Copper ii) Aluminium b) 11/6.6/0.433kV coils L.V/DPC/DCC/(round/rectangle) i) Copper ii) Aluminium | Kg Kg Kg Kg
3 | Rewinding with reinsulation of Interlayer Insulation of old coils a) 33/11/6.6kV coils H.V.SE/DPC/TPC/SPC/(round/rectangle) b) 11/6.6/0.433kV coils L.V/DPC/DCC/(round rectangle) | Kg
4 | Supply of assorted bolts & nuts according to requirement (Rate per Kg) a) Brass b) Copper c) M.S d) Aluminium e) Fiber | Kg Kg Kg Kg Kg
5 | Supply of assorted studs according to requirement (Rate per Kg) a) Brass b)Copper c) M.S d) Aluminium e) Fiber | Kg Kg Kg Kg Kg
6 | Charges for Cleaning, Reassembly, Filling of oil Silicagel, etc & Testing of Transformer | No
7 | External painting of Transformer | No
8 | Supply of Breather with Silicagel | No
9 | Supply of Drain Valve Diameter upto 40mm | No
10 | Supply of filter Valve upto 40mm | No
11 | Supply of Ratio switch with handle | No
12 | Supply of Bushing H.V | No
13 | Supply of Bushing L.V | No
14 | Supply of Insulating materials for assembly such as insulating tubes, block, sheet, etc | Kg
15 | Filtration charges of Transformer oil | Ltr
16 | Less for scrap copper (per.Kg) | Kg
17 | Less for scrap Aluminium (per.Kg) | Kg
18 | Supply of Transformer oil | Ltr

## Annex-D (Lunglei)
ANNEXURE-D
REPAIRING COST OF POWER TRANSFORMERS FOR LUNGLEI
Sl. No | ITEM | Unit | 1 MVA Trans. (Rs) | 1.6 MVA Trans. (Rs) | 2 MVA Trans. (Rs) | 2.5 MVA Trans. (Rs) | 3 MVA Trans. (Rs) | 6.3 MVA 33/11kV Trans. (Rs)
1 | Preparation of Survey Report and estimate of repair charges | No
2 | Supply of finished new for coils replacement of damage ones (Rate per Kg of the finished of Copper/AL) a) 33/11/6.6kV coils H.V.SE/DPC TPC/SPC/(round/rectangle) i) Copper ii) Aluminium b) 11/6.6/0.433kV coils L.V/DPC/DCC/(round/rectangle) i) Copper ii) Aluminium | Kg Kg Kg Kg
3 | Rewinding with reinsulation of Interlayer Insulation of old coils a) 33/11/6.6kV coils H.V.SE/DPC/TPC/SPC/(round/rectangle) b) 11/6.6/0.433kV coils L.V/DPC/DCC/(round rectangle) | Kg
4 | Supply of assorted bolts & nuts according to requirement (Rate per Kg) a) Brass b) Copper c) M.S d) Aluminium e) Fiber | Kg Kg Kg Kg Kg
5 | Supply of assorted studs according to requirement (Rate per Kg) a) Brass b)Copper c) M.S d) Aluminium e) Fiber | Kg Kg Kg Kg Kg
6 | Charges for Cleaning, Reassembly, Filling of oil Silicagel, etc & Testing of Transformer | No
7 | External painting of Transformer | No
8 | Supply of Breather with Silicagel | No
9 | Supply of Drain Valve Diameter upto 40mm | No
10 | Supply of filter Valve upto 40mm | No
11 | Supply of Ratio switch with handle | No
12 | Supply of Bushing H.V | No
13 | Supply of Bushing L.V | No
14 | Supply of Insulating materials for assembly such as insulating tubes, block, sheet, etc | Kg
15 | Filtration charges of Transformer oil | Ltr
16 | Less for scrap copper (per.Kg) | Kg
17 | Less for scrap Aluminium (per.Kg) | Kg
18 | Supply of Transformer oil | Ltr