ANNEXURE – I


LIST OF HYDRO-ELECTRIC PROJECTS
A. DPRs AVAILABLE:

1. Projects ranging 15 MW and above

	Sl. No
	Name of Project
	Installed Capacity (in MW)
	Location

	
	
	
	Nearest Village
	District

	1.
	Kolodyne II HEP
	460
	Lawngtlai
	Lawngtlai

	2.
	Tuivai HEP
	210
	Ngopa
	Champhai

	3.
	Bairabi Dam Project
	80
	Bairabi
	Kolasib

	4.
	Tuirini HEP
	38
	Sesawng
	Aizawl

	5.
	Tuivawl HEP
	42
	East Phaileng
	Aizawl

	
	TOTAL -
	830 MW
	
	



2. Projects ranging 1MW to 15MW :

	Sl. No
	Name of Project
	Probable Installed Capacity (in KW)
	Location

	
	
	
	Nearest Village
	District

	1.
	Ngengrual SHP
	2000
	Thingfal
	Lunglei 

	2.
	Tuikum SHP
	3500
	Serchhip
	Serchhip

	3.
	Kautlabung-II SHP 
	1500
	Thenhlum 
	Serchhip

	4.
	Khawiva-II SHP
	1000
	Serkawn
	Lunglei

	5.
	Tuipanglui-II SHP
	3000
	Tuipang ‘L’
	Saiha

	6.
	Mat Multipurpose Scheme
	3500
	Thenzawl
	Serchhip

	7.
	Tuisih SHP
	2000
	Ainak
	Saiha

	8.
	Khawchhaktuipui SHP
	3000
	Tualte
	Champhai

	9.
	Dialdawk SHP
	1000
	Lengpui
	Aizawl

	10.
	Iva SHP
	2500
	Vaphai
	Champhai

	
	TOTAL
	23000  (23 MW)
	
	



3. Project ranging 100KW to 1MW : 
	Sl. No
	Name of Project
	Probable Installed Capacity (in KW)
	Location

	
	
	
	Nearest Village
	District

	1
	Rakilui MHP
	500
	Ainak
	Saiha

	2
	Tamdil MHP
	500
	Saitual
	Aizawl

	3
	Phaichar MHP
	200
	Ngur
	Champhai

	4
	Mawngping MHP
	200
	Lamchhip
	Aizawl

	5
	Thenhlum MHP
	700
	Thenhlum
	Serchhip

	
	TOTAL - 
	2100 
(2.10 MW)
	
	






4. Project below 100KW :
	Sl. No
	Name of Project
	Probable Installed Capacity (in KW)
	Location

	
	
	
	Nearest Village
	District

	1.
	Saiphai Micro HP
	50
	Saiphai
	Kolasib

	2.
	Raifanlui Micro HP
	50
	Sialhawk
	Champhai

	
	TOTAL -
	100 (0.10 MW)
	
	



B. PFRs AVAILABLE:
	Sl. No.
	Name of Project
	Probable Installed Capacity (in KW)
	Location

	
	
	
	Nearest Village
	District

	1
	Tualte
	100
	Tualte
	Khawzawl

	2
	Chiahpui-Chiahte Combined
	400
	Lengpui
	Aizawl

	3
	Minlui
	100
	Rawlbuk
	Lawngtlai

	4
	Lallen
	200
	West Phaileng
	Mamit

	5
	Mitthikokham
	1000
	Lungpher
	Lawngtlai

	6
	Delui
	300
	Lungsen
	Lunglei

	7
	Hnahthial & Piva
	2000
	Chhuarlung
	Saiha

	8
	Sekulhlui
	100
	Bungtlang
	Lawngtlai

	9
	Tuidamlui
	100
	W. Bunghmun
	Lunglei

	10
	Tuirumlui
	100
	Hrianghmun
	Champhai

	11
	Tuisa Lui
	1000
	Mimbung
	Champhai

	12
	Sangau Lui
	100
	Sangau
	Lawngtlai

	13
	Rava Lui
	50
	Chhuarlung
	Saiha

	14
	H. Tangerlui
	100
	Sangau
	Lawngtlai

	15
	Cheului
	50
	Sangau
	Lawngtlai

	16
	Bualanu Khamlui
	50
	Vawmbuk
	Lawngtlai

	17
	Tuikhurlui
	50
	Lungtian
	Lawngtlai

	18
	Khawrawplui
	15
	Tuithumhnar
	Lawngtlai

	19
	Tuiphai
	3000
	Hnathial
	Lunglei

	20
	Samtar Lui
	200
	S. Tawipui
	Lunglei

	21
	Chikhurlui
	15
	Lawngtlai
	Lawngtlai

	22
	Limhmuhva Lui
	200
	Vawmbuk
	Lawngtlai

	23
	Marlui
	3000
	W. Phaileng
	Mamit

	24
	Sunhlu Lui
	100
	S. Bungtlang
	Lawngtlai

	25
	Tuithumlui
	100
	Dungtlang
	Champhai

	26
	Ulgalsurilui
	200
	Ulgalsurai
	Lunglei

	27
	Ngengrual-III
	2000
	Thingfal
	Lunglei

	28
	Ainaklui (DSI Available)
	50
	Lungbun
	Saiha

	29
	Kukisura
	200
	Borapansuri
	Lunglei

	30
	Tuichawnglui
	1000
	Chawngte
	Lunglei

	
	Total
	15880
 (15.88 MW)
	
	







C. PROJECTS UNDER INVESTIGATION:
	Sl. No
	Name of Project
	Probable Installed Capacity (in MW)
	Location

	
	
	
	Nearest Village
	District

	1.
	Tuipui HEP
	38
	Biate
	Champhai

	2.
	Tuichang HEP
	102
	Hnahthial
	Lunglei

	3.
	Tlawng HEP
	120
	N. Lungleng
	Aizawl

	4.
	Mat Sekawi HEP
	120
	Rotlang ‘E’
	Lunglei

	
	TOTAL -
	380 MW
	
	




D. PROJECT IDENTIFIED:
	Sl. No
	Name of Project
	Probable Installed Capacity (in MW)
	Location

	
	
	
	Nearest Village
	District

	1.
	Ngengpui HEP
	25
	Ngengpui
	Lawngtlai

	2.
	Sekulh HEP
	15
	S. Bungtlang
	Lawngtlai

	3.
	Chhimtuipui HEP
	640
	Sangau
	Lawngtlai

	4.
	Lungreng HEP
	815
	S.Lungleng
	Serchhip

	5.
	Tut HEP
	27
	Rawpuichhip
	Mamit

	
	TOTAL -
	1522 MW
	
	




E. OTHER PROSPECTIVE PROJECTS:
	Sl.No.
	Name of Project
	Tentative Installed Capacity (In MW)

	1.
	OTHER PROSPECTIVE PROJECTS
	1000

	
	Total
	1000


 
	TOTAL HYDRO POWER POTENTIAL IN MIZORAM (A+B+C+D+E)
	3773.08 MW
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